## Slide 1: Lecture 18 Power in AC Circuits
Hung-yi Lee

## Slide 2: Outline
Textbook: Chapter 7.1
  Computing Average Power
  Maximum Power Transfer for AC circuits
    Maximum Power Transfer for DC circuits has been discussed in Chapter 3.1

## Slide 3: Average Power for AC Circuits

## Slide 4: Review: Power for DC Circuits
Consumed Power for DC Circuits
A
B
+
-
reference current should flow from “+” to “-”
Negative Communed Power
= Supplied Power
Resistor with resistance R

## Slide 5: Power for AC Circuits
Consumed Instantaneous Power
If p(t) is periodic with period T
  Average Power
A
B
+
-

## Slide 6: Average Power for AC Circuits
Network
Z
Notes: Constant plus 2 w

## Slide 7: Average Power for AC Circuits
Absorb power
Supply power
Notes: The cos can be between -1 and 1

## Slide 8: Average Power for AC Circuits
Network
Z
Notes: Constant plus 2 w

## Slide 9: Average Power for AC Circuits
Network
Z

## Slide 10: Summary

## Slide 11: Revisit Maximum Power Transfer

## Slide 12: Review: Maximum Power Transfer for DC Circuits
Real source
Device (Load)
power
Rs is fixed, increase RL
Power consumed by Rs
Power consumed by RL

## Slide 13: Maximum Power Transfer for AC Circuits
Real source
Device (Load)
Source Impedance:
Find ZL such that the device can obtain maximum power
Real source
Device (Load)

## Slide 14: Maximum Power Transfer for AC Circuits
Real source
Device (Load)
Voltage Source:

## Slide 15: Maximum Power Transfer for AC Circuits
Find XL and RL that maximize P
XL = -Xs
RL = Rs
Find ZL that maximize P
Notes: Compare with DC

## Slide 16: Maximum Power Transfer for AC Circuits
Only |ZL| can be tuned
θ is fixed
(R/X is fixed)
PL is maximized when
Special case:
If

## Slide 17: Maximum Power Transfer for AC Circuits – Example 1
Determine ZL that maximize the power drawn from the circuit. What is the maximum power?

## Slide 18: Maximum Power Transfer for AC Circuits – Example 1
Network
Find ZT

## Slide 19: Maximum Power Transfer for AC Circuits – Example 1
Network

## Slide 20: Maximum Power Transfer for AC Circuits – Example 2
Find RL that can absorb maximum power

## Slide 21: Maximum Power Transfer for AC Circuits
Real source
Device (Load)
Power Transfer Efficiency:

## Slide 22: Example 7.4
Real source
Device (Load)
Real source
Device (Load)
Find Power Transfer Efficiency

## Slide 23: Example 7.4
Real source
Device (Load)

## Slide 24: Homework
7.4, 7.14, 7.20

## Slide 25: Thank you!

## Slide 26: Answer
7.4: Irms = 5.65mA, 160mW
7.14: R=141Ω, C=0.707μF
7.20: (a) (12-5j)k Ω, 120 μW, 50%; (b) (10.4-7.8j)k Ω, 90 μW, 46%; (c) 13k Ω, 115 μW, 52%

## Slide 27: Acknowledgement
  感謝 吳東運(b02)
    指出投影片中的錯誤